# Gemini 3.0 Orthopedic Finite Math & Physics Report

System Version: 3.0.1
Module: Orthopedic Intelligent Guidance System (IGS)
Date: January 18, 2026

## 1. Volumetric Image Acquisition (Acquisition Tab)

The acquisition module simulates the reconstruction of a 3D anatomical volume V from a set of 2D axial slices Sk.

### 1.1 Voxel Intensity Model

The intensity I(x,y,z) of a voxel at position p=(x,y,z) is modeled as a function of tissue density ρ(p) with additive Gaussian noise η:

I(x,y,z)=α⋅ρ(x,y,z)+η

Where: - ρ(x,y,z)=200if p∈Cortical Bone180if p∈Cancellous/Tibia0otherwise - η∼N(0,σnoise2)

### 1.2 Region of Interest (ROI) Algebra

The segmentation masks for the medial and lateral condyles are defined by finite inequalities:

Medial Condyle:

(x−cmedial)2+(y−cy)2≤rcondyle2

Tibial Plateau (Ellipsoidal):

(x−cx)2a2+(y−cytib)2b2≤1

## 2. Quantum Geodesic Registration (Registration Tab)

Registration aligns the intra-operative tracker coordinate frame Ftracker with the pre-operative CT/MRI frame FCT. The system utilizes a “Quantum Geodesic Mapping” approach, represented as an iterative optimization of a rigid body transformation T.

### 2.1 Transformation Matrix

The transformation T∈SE(3) is defined by a rotation matrix R and translation vector t:

T=Rt01

Where R is constructed from Euler angles (ϕ,θ,ψ):

R=Rz(ψ)Ry(θ)Rx(ϕ)

### 2.2 Cost Function Optimization

The objective is to minimize the Root Mean Square (RMS) error between the source point cloud P={pi} and target cloud Q={qi}:

E(R,t)=i=1N∥(Rpi+t)−qi∥2+λΩΨgeodesicdΩ

The “Evolutionary Propagation” simulates the gradient descent steps:

Errork+1=γ⋅Errork+ϵ

Where γ≈0.7 is the convergence factor.

### 2.3 Repeatability Statistics

For N trials, the repeatability confidence score S is derived from the standard deviation σrms of the final convergence error:

S=1001−κ⋅σrms

## 3. Conformal Surgical Planning (Planning Tab)

The planning engine generates resection profiles Ycut(x) to match the inverse geometry of the implant Yimplant(x).

### 3.1 Anatomy Polynomial Approximation

The distal femur curvature is approximated by a parabolic function:

Ynative(x)=−x22R+H0

where R=30 (radius of curvature) and H0=10 (offset).

### 3.2 Resection Geometry (Chamfer Cuts)

The resection profile is a piecewise function defining the 5-cut technique:

Ycut(x)=−5|x|<20 (Distal)−10−(|x|−20)20≤|x|<35 (Chamfer)−25|x|≥35 (A/P)

### 3.3 Posterior Stabilized (PS) Cam Mechanism

For PS implants, a “box cut” requires a modification in the central domain Dbox={x:|x|<10}:

YPS_cut(x)=Ycut(x)+δbox⋅1Dbox(x)

## 4. Ligament Balancing Kinematics (Planning Tab)

Kinematics are simulated as a function of flexion angle α∈[0,145].

### 4.1 Gap Functions

The varying gap distance G(α) between femur and tibia is modeled as:

Medial Compartment (Stable):

Gmed(α)=Gtarget+Amsin(k1α)+ϵm

Lateral Compartment (Laxity allowed):

Glat(α)=Gtarget+Alααmax+A2sin(k2α)

The Safe Zone is defined as the interval [9.0,11.0] mm.

## 5. Implant Fit Optimization (Implant Fit Tab)

The “Quantum Surface Integral” calculates the fit energy between the implant mesh Mimp and the bone surface Sbone.

### 5.1 Energy Minimization

Efit=Snimp⋅nbonee−dist(pimp,pbone)2dA

Convergence history follows a quadratic decay:

E(t)=−t2 (idealized)

## 6. Monte Carlo Post-Op Analytics (Post-Op Tab)

Outcomes are predicted using stochastic simulation over N=5000 virtual patients.

### 6.1 Distribution Models

- Flexion Range: Xflex∼N(125,102) truncated to [90,150].

- Tibial Slope: Xslope∼N(5,1.52).

- Cost Function:

Ctotal=Cbase+δ+I(Xflex<100)⋅Cpenalty

- Where I is the indicator function for poor outcomes (stiffness).

Report generated by Gemini 3.0 Agentic Framework.